## Preparation Details
Preparation
Hanna Code | HI93730A-0 | Description | Molybdenum Reagent A
MR Code | MR19 | MR Description | Molybdenum 1000 mg/L Standard Solution in HCl 10%
Preparation Date | 2025/02/18 | Preparation Hour | 15:44 | Preparation Week | 8/2025
FW Hanna Parameter | 95.94 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/02/23 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93730A-0 | Molybdenum Reagent A | CP-R46 | 95.94 | mg/L | 1 |  | 100 |  | 100 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR19 | Molybdenum 1000 mg/L Standard Solution in HCl 10% | L |  | 67210-250ML | 100 % | 1000 | mg/L | Mo | 95.94
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 8 | 4 | 4 | 0 | 0 % | -
3 | 32 | 16 | 16 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/18/2025 3:47:54 PM | 0A | BCCG7639 | 2 | 8 | mg/L | 4 | 4 |  | 136.00 mL | Brigitta P |  |  |  | BALQ114CQC01
2 | 2/18/2025 3:48:22 PM | 0A | BCCG7639 | 3 | 32 | mg/L | 16 | 16 | SARTORIUS | 120.00 mL | Brigitta P |  | SARTORIUS |  | 10 ML | VWR 500ML
Preparation Notes
Date | Type | Description | Operator