## Preparation Details
Preparation
Hanna Code | HI93731A-0 | Description | Zinc Reagent A
MR Code | MR62 | MR Description
Preparation Date | 2025/05/08 | Preparation Hour | 13:54 | Preparation Week | 19/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/05/11 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93731A-0 | Zinc Reagent A | CP-R49 | 65.409 | mg/L | 2 |  | 100 |  | 100 | DWA | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR62 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
4 | 2.9 | 1.45 | 1.45 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 5/8/2025 1:59:57 PM | 0B | BCCL7143 | 4 | 2.9 | mg/L | 1.45 | 1.45 | Sartorius 5 ml | 224.10 mL | Brigita T |  | Sartorius 5 ml |  |  | 500 ml ISOLAB
Preparation Notes
Date | Type | Description | Operator