## Preparation Details
Preparation
Hanna Code | HI93731B-0 | Description | Zinc Reagent B
MR Code | MR62 | MR Description | Zinc 1000 mg/L Standard Solution AAS in HNO3 2%
Preparation Date | 2025/02/17 | Preparation Hour | 14:31 | Preparation Week | 8/2025
FW Hanna Parameter | 65.409 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/02/20 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93731B-0 | Zinc Reagent B | CP-B155 | 65.409 | mg/L | 2 |  | 100 |  | 100 | DWA | 500 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR62 | Zinc 1000 mg/L Standard Solution AAS in HNO3 2% | L |  | 18827-250ML | 100 % | 1000 | mg/L | Zn | 65.409
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .6 | .3 | .3 | 0 | 0 % | -
3 | 2.4 | 1.2 | 1.2 | 0 | 0 % | -
4 | 2.9 | 1.45 | 1.45 | 0 | 0 % | -
5 | 1.8 | .9 | .9 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/17/2025 2:54:00 PM | 0B | BCCL7143 | 2 | 0.6 | mg/L | 0.3 | 0.3 | Sartorius | 244.50 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ml
2 | 2/17/2025 2:54:13 PM | 0B | BCCL7143 | 3 | 2.4 | mg/L | 1.2 | 1.2 |  | 243.30 mL | Brigita T |  |  |  |  | ISO LAB 500 ml
3 | 2/17/2025 2:54:34 PM | 0B | BCCL7143 | 4 | 2.9 | mg/L | 1.45 | 1.45 | Sartorius | 241.85 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ml
4 | 2/17/2025 2:54:50 PM | 0B | BCCL7143 | 5 | 1.8 | mg/L | 0.9 | 0.9 | Sartorius | 240.95 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ml
Preparation Notes
Date | Type | Description | Operator