## Preparation Details
Preparation
Hanna Code | HI93735A-LR | Description | Hardness Low Range Reagent A
MR Code | MR60 | MR Description
Preparation Date | 2025/11/26 | Preparation Hour | 10:31 | Preparation Week | 48/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/12/01 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93735A-LR | Hardness Low Range Reagent A | CP-B206 | 100.0869 | mg/L | 0 |  | 100 |  | 100 | DWA | 100 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 100 | .4 | .4 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/26/2025 10:33:43 AM | 0C | BCCM4860 | 2 | 100 | mg/L | 0.4 | 0.4 | CH-EQUIP76 | 61.80 mL | Salome |  | CH-EQUIP76 |  | - | DURAN 100 ML
Preparation Notes
Date | Type | Description | Operator