## Preparation Details
Preparation
Hanna Code | HI93735A-LR | Description | Hardness Low Range Reagent A
MR Code | MR60 | MR Description
Preparation Date | 2025/06/17 | Preparation Hour | 08:37 | Preparation Week | 25/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/06/22 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93735A-LR | Hardness Low Range Reagent A | CP-B206 | 100.0869 | mg/L | 0 |  | 100 |  | 100 | DWA | 250 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
2 | 100 | 1.001 | 1.001 | 0 | 0 % | -
3 | 200 | 2.002 | 2.002 | 0 | 0 % | -
4 | 250 | 2.503 | 2.503 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/17/2025 8:37:58 AM | 0O | BCCJ7117 | 2 | 100 | mg/L | 1.001 | 1.001 | SARTORIUS | 98.00 mL | Salome |  | SARTORIUS |  |  | brand 250ml
2 | 6/17/2025 8:38:22 AM | 0O | BCCJ7117 | 3 | 200 | mg/L | 2.002 | 2.002 | SARTORIUS | 91.00 mL | Salome |  | SARTORIUS |  |  | brand 250ml
3 | 6/17/2025 8:38:43 AM | 0O | BCCJ7117 | 4 | 250 | mg/L | 2.503 | 2.503 | SARTORIUS | 83.50 mL | Salome |  | SARTORIUS |  |  | brand 250ml
Preparation Notes
Date | Type | Description | Operator