## Preparation Details
Preparation
Hanna Code | HI93735IND-HR | Description | Hardness Indicator Reagent HR
MR Code | MR60 | MR Description
Preparation Date | 2025/02/25 | Preparation Hour | 14:55 | Preparation Week | 9/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/03/02 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93735IND-HR | Hardness Indicator Reagent HR | CP-B197 | 100.0869 | mg/L | 0 |  | 100 |  | 100 | DWA | 200 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 500 | 4.004 | 4.004 | 0 | 0 % | -
3 | 600 | 4.805 | 4.805 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/25/2025 2:55:44 PM | 0M | BCCJ7117 | 2 | 500 | mg/L | 4.004 | 4.004 | Sartorius | 61.70 mL | Brigita T |  | Sartorius |  |  | ISO LAB 200 ml
2 | 2/25/2025 2:56:05 PM | 0M | BCCJ7117 | 3 | 600 | mg/L | 4.805 | 4.805 | Sartrorius | 56.90 mL | Brigita T |  | Sartrorius |  |  | ISO LAB 200 ml
Preparation Notes
Date | Type | Description | Operator