## Preparation Details
Preparation
Hanna Code | HI93737A-0 | Description | Silver Reagent A
MR Code | MR105 | MR Description | Silver 1000 mg/L Standard Solution in HNO3 0.5 M
Preparation Date | 2025/10/23 | Preparation Hour | 09:18 | Preparation Week | 43/2025
FW Hanna Parameter | 107.9 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/10/28 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93737A-0 | Silver Reagent A | CP-B160 | 107.9 | mg/L | 3 |  | 93 | 10 | 93 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR105 | Silver 1000 mg/L Standard Solution in HNO3 0.5 M | L |  | 119797.0100 | 100 % | 1000 | mg/L | Ag | 107.9
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .2 | 1 | 1 | 0 | 0 % | -
3 | .8 | 4 | 4 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/23/2025 9:20:18 AM | 0A | HC28878997 | 2 | 0.2 | mg/L | 1 | 1 | SARTORIUS | 97 | Kinga |  | SARTORIUS | 5ML |  | VWR 500 ml | 10/23/2025 | 119797.0100 | 2026/03/31
2 | 10/23/2025 9:20:40 AM | 0A | HC28878997 | 3 | 0.8 | mg/L | 4 | 4 | SARTORIUS | 93 | Kinga |  | SARTORIUS | 5ML |  | VWR 500 ml | 10/23/2025 | 119797.0100 | 2026/03/31
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93737A-0 | 9.300 mL | 2025/10/23 | 09:18 | 43/2025 | 2025/10/23 | 100 mL | 2025/11/07 | 0A | HC28878997 | 25 mL
Preparation Notes
Date | Type | Description | Operator