## Preparation Details
Preparation
Hanna Code | HI93737B-0 | Description | Silver Reagent B
MR Code | MR105 | MR Description
Preparation Date | 2025/06/19 | Preparation Hour | 14:19 | Preparation Week | 25/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/06/24 | Storage STD | ROOM
Note |  | Operator | Salome
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93737B-0 | Silver Reagent B | CP-B161 | 107.9 | mg/L | 3 |  | 82 | 10 | 82 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR105 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
2 | .2 | 2 | 2 | 0 | 0 % | -
3 | .8 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/19/2025 2:32:41 PM | 0A | HC28878997 | 2 | 0.2 | mg/L | 2 | 2 | Sartorius 5 ml | 98 | Salome |  | Sartorius 5 ml | 5 ml | / | ISO LAB 1000ML | 6/19/2025 | 119797.0100 | 2026/03/31
2 | 6/19/2025 2:33:08 PM | 0A | HC28878997 | 3 | 0.8 | mg/L | 8 | 8 | SARTORIUS | 82 | Salome |  | SARTORIUS |  | / | ISO LAB 1000ML | 6/19/2025 | 119797.0100 | 2026/03/31
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93737B-0 | 8.200 mL | 2025/06/19 | 14:19 | 25/2025 | 2025/06/19 | 100 mL | 2025/07/04 | 0A | HC28878997 | 35 mL
Preparation Notes
Date | Type | Description | Operator