## Preparation Details
Preparation
Hanna Code | HI93737C-0 | Description | Silver Reagent C
MR Code | MR105 | MR Description | Silver 1000 mg/L Standard Solution in HNO3 0.5 M
Preparation Date | 2024/12/02 | Preparation Hour | 08:18 | Preparation Week | 49/2024
FW Hanna Parameter | 107.9 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2024/12/07 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93737C-0 | Silver Reagent C | CP-B162 | 107.9 | mg/L | 3 |  | 90 | 10 | 90 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MPN | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR105 | Silver 1000 mg/L Standard Solution in HNO3 0.5 M | L |  | 119797.0100 | 100 % | 1000 | mg/L | Ag | 107.9
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .2 | 2 | 2 | 0 | 0 % | -
3 | .8 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date
1 | 12/2/2024 8:37:14 AM | 0A | HC28878997 | 2 | 0.2 | mg/L | 2 | 2 | Sartorius 5 ml | 98 | Brigita T |  | Sartorius 5 ml | 5 ml |  | VWR 1000 ml | 12/2/2024
2 | 12/2/2024 8:37:28 AM | 0A | HC28878997 | 3 | 0.8 | mg/L | 8 | 8 | Sartorius | 90 | Brigita T |  | Sartorius | 10 ml |  | VWR 1000 ml | 12/2/2024
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93737C-0 | 9.000 mL | 2024/12/02 | 08:18 | 49/2024 | 2024/12/02 | 100 mL | 2024/12/17 | 0A | HC28878997 | 45 mL
Preparation Notes
Date | Type | Description | Operator