## Preparation Details
Preparation
Hanna Code | HI93740A-0 | Description | Nickel Low Range Reagent A
MR Code | MR26 | MR Description | Nickel 10000 mg/l Standard Solution for ICP in HNO3
Preparation Date | 2025/02/06 | Preparation Hour | 08:53 | Preparation Week | 6/2025
FW Hanna Parameter | 58.69 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/02/11 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 1000
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93740A-0 | Nickel Low Range Reagent A | CP-R52 | 58.6934 | µg/L | 0 |  | 99 | 10 | 99 | DWA | 1000 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR26 | Nickel 10000 mg/l Standard Solution for ICP in HNO3 | L |  | 19013-100ML | 100 % | 10000 | mg/L | Ni | 58.69
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | .2 | .2 | 0 | 0 % | -
3 | 800 | .8 | .8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/6/2025 8:54:52 AM | 0E | BCCF4303 | 2 | 200 | µg/L | 0.2 | 0.2 | Sartorius | 99.8 | Brigita T |  | Sartorius | 300 microL |  | ISO LAB 100o ML | 2/6/2025 | 19013-100ML
2 | 2/6/2025 8:55:09 AM | 0E | BCCF4303 | 3 | 800 | µg/L | 0.8 | 0.8 | Sartorius | 99 | Brigita T |  | Sartorius | 1 ml |  | ISO LAB 1000 ML | 2/6/2025 | 19013-100ML
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93740A-0 | 9.900 mL | 2025/02/06 | 08:53 | 6/2025 | 2025/02/06 | 100 mL | 2025/02/11 | 0E | BCCF4303 | 100 mL
Preparation Notes
Date | Type | Description | Operator