## Preparation Details
Preparation
Hanna Code | HI93740C-0 | Description | Nickel Low Range Reagent C
MR Code | MR26 | MR Description
Preparation Date | 2025/10/29 | Preparation Hour | 12:20 | Preparation Week | 44/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/11/03 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93740C-0 | Nickel Low Range Reagent C | CP-R53 | 58.6934 | µg/L | 0 |  | 98.9 | 10 | 98.9 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR26 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | .1 | .1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/29/2025 12:21:50 PM | 0A | BCCL7401 | 2 | 200 | µg/L | 0.1 | 0.1 | SARTORIUS | 98.9 | Kinga |  | SARTORIUS | 1ML |  | ISOLAB 250ML | 10/29/2025 | 19013-100ML | 2028/03/31
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93740C-0 | 9.890 mL | 2025/10/29 | 12:20 | 44/2025 | 2025/10/29 | 100 mL | 2025/11/03 | 0A | BCCL7401 | 90 mL
Preparation Notes
Date | Type | Description | Operator