## Preparation Details
Preparation
Hanna Code | HI93748C-0 | Description | Manganese Low Range Reagent C
MR Code | MR37 | MR Description | Manganese 1000 mg/l Standard Solution AAS in nitric acid 2%
Preparation Date | 2025/12/17 | Preparation Hour | 15:37 | Preparation Week | 51/2025
FW Hanna Parameter | 54.94 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/12/18 | Storage STD | ROOM
Note |  | Operator | Eva
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93748C-0 | Manganese Low Range Reagent C | CP-B171 | 54.94 | µg/L | 0 |  | 97.25 | 10 | 97.25 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR37 | Manganese 1000 mg/l Standard Solution AAS in nitric acid 2% | L |  | 77036-250 | 100 % | 1000 | mg/L | Mn | 54.94
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 60 | .15 | .15 | 0 | 0 % | -
3 | 240 | .6 | .6 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/17/2025 3:43:13 PM | 0B | BCCL5755 | 2 | 60 | µg/L | 0.15 | 0.15 | CH/EQUIP75 | 98.85 | Eva |  | CH/EQUIP75 | PLASTIC PIPETA | 300UP | VWR250ML | 12/17/2025 | 77036-250 | 2027/01/29
2 | 12/17/2025 3:45:05 PM | 0B | BCCL5755 | 3 | 240 | µg/L | 0.6 | 0.6 | CH/LQUIP76 | 97.25 | Eva |  | CH/LQUIP76 | PLASTIC PIPETA | 1ML | VWR250ML | 12/17/2025 | 77036-250 | 2027/01/29
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93748C-0 | 9.725 mL | 2025/12/17 | 15:37 | 51/2025 | 2025/12/17 | 100 mL | 2025/12/22 | 0B | BCCL5755 | 168.5 mL
Preparation Notes
Date | Type | Description | Operator