## Preparation Details
Preparation
Hanna Code | HI93749-0 | Description | Chromium VI LR Reagent
MR Code | MR43 | MR Description | Cr VI 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/12/04 | Preparation Hour | 13:58 | Preparation Week | 49/2025
FW Hanna Parameter | 51.996 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/12/06 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93749-0 | Chromium VI LR Reagent | CP-R43 | 51.996 | µg/L | 0 |  | 93.61 | 10 | 93.61 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR43 | Cr VI 1000 mg/l Standard Solution AAS in nitric acid | L |  | 02733-250ML | 100 % | 1000 | mg/L | Cr(VI) | 51.996
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 60 | .15 | .15 | 0 | 0 % | -
3 | 240 | .6 | .6 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/4/2025 2:03:31 PM | 0B | BCCK2665 | 2 | 60 | µg/L | 0.15 | 0.15 | SARTORIUS CH-EQUIP76 | 94.21 | Andrea V |  | SARTORIUS CH-EQUIP76 | 1ML |  | VWR 250ML | 11/28/2025
2 | 12/4/2025 2:04:05 PM | 0B | BCCK2665 | 3 | 240 | µg/L | 0.6 | 0.6 | SARTORIUS CH-EQUIP76 | 93.61 | Andrea V |  | SARTORIUS CH-EQUIP76 | 1ML |  | VWR 250ML | 11/28/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93723-0 | 9.361 mL | 2025/11/28 | 09:41 | 48/2025 | 2025/11/28 | 100 mL | 2025/12/13 | 0B | BCCK2665 | 126 mL
Preparation Notes
Date | Type | Description | Operator