## Preparation Details
Preparation
Hanna Code | HI93750B-0 | Description | Potassium Reagent B
MR Code | MR107 | MR Description | Potassium 1000 mg/L Standard Solution in HNO3 0.5M
Preparation Date | 2025/03/27 | Preparation Hour | 08:42 | Preparation Week | 13/2025
FW Hanna Parameter | 39.1 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/04/01 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93750B-0 | Potassium Reagent B | CP-R55 | 39.1 | mg/L | 1 |  | 100 |  | 100 | DWA | 250 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR107 | Potassium 1000 mg/L Standard Solution in HNO3 0.5M | L |  | 170230.0100 | 100 % | 1000 | mg/L | K | 39.1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 4 | 1 | 1 | 0 | 0 % | -
3 | 16 | 4 | 4 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/27/2025 8:43:08 AM | 0A | HC31852930 | 2 | 4 | mg/L | 1 | 1 | SARTORIUS 1ML | 95.00 mL | Brigitta P |  | SARTORIUS 1ML |  | 1ML | ISO LAB 250 ml
2 | 3/27/2025 8:43:42 AM | 0A | HC31852930 | 3 | 16 | mg/L | 4 | 4 | SARTORIUS | 91.00 mL | Brigitta P |  | SARTORIUS |  | 4 ML | ISO LAB 250 ml
Preparation Notes
Date | Type | Description | Operator