## Preparation Details
Preparation
Hanna Code | HI93751-0 | Description | Sulfate Reagent
MR Code | MR32/S | MR Description | Sodium Sulfate
Preparation Date | 2025/03/26 | Preparation Hour | 10:58 | Preparation Week | 13/2025
FW Hanna Parameter | 142.04 | Measurement Unit | g | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/04/10 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93751-0 | Sulfate Reagent | CP-R56 | 96 | mg/L | 0 | 1481 | 74.9 |  | 74.9 | DWA | 250 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR32/S | Sodium Sulfate | S |  | 71959/250G | 99.5 % | 10000 | g | Na2SO4 | 142.04
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 20 | 5.02 | 5.02 | 0 | 0 % | -
3 | 80 | 20.081 | 20.081 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/26/2025 10:58:36 AM | 0A | BCBS1787V | 2 | 20 | mg/L | 5.02 | 5.02 |  | 94.98 | Brigitta P |  |  |  |  | 2025/03/26 | 3/26/2025 | 71959/250G | 2024/03/02
2 | 3/26/2025 10:58:41 AM | 0A | BCBS1787V | 3 | 80 | mg/L | 20.081 | 20.081 |  | 74.9 | Brigitta P |  |  |  |  | 2025/03/26 | 3/26/2025 | 71959/250G | 2024/03/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93751-0 | 0.111 mL | 2025/03/26 | 10:58 | 13/2025 | 2025/03/26 | 100 mL | 2025/04/10 | 0A | BCBS1787V | 176.19 mL
Preparation Notes
Date | Type | Description | Operator