## Preparation Details
Preparation
Hanna Code | HI93751-0 | Description | Sulfate Reagent
MR Code | MR32/S | MR Description | Sodium Sulfate
Preparation Date | 2025/08/26 | Preparation Hour | 08:26 | Preparation Week | 35/2025
FW Hanna Parameter | 142.04 | Measurement Unit | g | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/09/10 | Storage STD | ROOM
Note |  | Operator | Kinga
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93751-0 | Sulfate Reagent | CP-R56 | 96 | mg/L | 0 | 1481 | 48.8 |  | 48.8 | DWA | 500 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR32/S | Sodium Sulfate | S |  | 71959/250G | 99.5 % | 10000 | g | Na2SO4 | 142.04
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 20 | 10.041 | 10.041 | 0 | 0 % | -
3 | 80 | 40.163 | 40.163 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 8/26/2025 8:29:19 AM | 0A | BCBW7936 | 2 | 20 | mg/L | 10.041 | 10.041 | Micropipette SARTORIUS 10ML | 88.96 | Kinga |  | Micropipette SARTORIUS 10ML |  |  | VWR 500ML | 8/26/2025 | 71959/250G | 2025/08/02
2 | 8/26/2025 8:29:34 AM | 0A | BCBW7936 | 3 | 80 | mg/L | 40.163 | 40.163 | Micropipette SARTORIUS 10ML | 48.8 | Kinga |  | Micropipette SARTORIUS 10ML |  |  | VWR 500ML | 8/26/2025 | 71959/250G | 2025/08/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93751-0 | 0.072 mL | 2025/08/26 | 08:26 | 35/2025 | 2025/08/26 | 100 mL | 2025/09/10 | 0A | BCBW7936 | 139.704 mL
Preparation Notes
Date | Type | Description | Operator