## Preparation Details
Preparation
Hanna Code | HI93752A-CA | Description | Calcium Reagent A
MR Code | MR60 | MR Description | Calcium 10,000 mg/L Standard Solution in HNO3
Preparation Date | 2025/03/10 | Preparation Hour | 09:09 | Preparation Week | 11/2025
FW Hanna Parameter | 40.078 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/03/25 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93752A-CA | Calcium Reagent A | CP-B172 | 40.078 | mg/L | 0 |  | 100 |  | 100 | DWA | 250 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR60 | Calcium 10,000 mg/L Standard Solution in HNO3 | L |  | 94458-100ML | 100 % | 10000 | mg/L | Ca | 40.078
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 80 | 2 | 2 | 0 | 0 % | -
3 | 320 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 3/10/2025 9:16:30 AM | 0N | BCCJ7117 | 2 | 80 | mg/L | 2 | 2 | Sartorius 10 ml | 90.00 mL | Brigita T |  | Sartorius 10 ml |  |  | VWR 250ML
2 | 3/10/2025 9:16:49 AM | 0N | BCCJ7117 | 3 | 320 | mg/L | 8 | 8 | Sartorius 10 ml | 82.00 mL | Brigita T |  | Sartorius 10 ml |  |  | BRAND 250 ML
Preparation Notes
Date | Type | Description | Operator