## Preparation Details
Preparation
Hanna Code | HI93752A-MG | Description | Magnesium Reagent A
MR Code | MR100 | MR Description | Magnesium 10000 mg/L Standard Solution from NIST Mg(NO3)2 in HNO3 2-3%
Preparation Date | 2024/12/13 | Preparation Hour | 15:31 | Preparation Week | 50/2024
FW Hanna Parameter | 24.3 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2024/12/16 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93752A-MG | Magnesium Reagent A | CP-B173 | 24.3 | mg/L | 0 |  | 100 |  | 100 | DWA | 100 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MPN | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR100 | Magnesium 10000 mg/L Standard Solution from NIST Mg(NO3)2 in HNO3 2-3% | L |  | 1703790100 | 100 % | 10000 | mg/L | Mg | 24.3
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 30 | .3 | .3 | 0 | 0 % | -
3 | 120 | 1.2 | 1.2 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date
1 | 12/13/2024 3:38:16 PM | 0A | HC45480079 | 2 | 30 | mg/L | 0.3 | 0.3 | Micropioette SARTORIUS | 34.20 mL | Monika |  | Micropioette SARTORIUS |  |  | BRAND 100 ML | 12:00:00 AM
2 | 12/13/2024 3:39:01 PM | 0A | HC45480079 | 3 | 120 | mg/L | 1.2 | 1.2 | Micropipette SARTORIUS 5ML | 33.00 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | BRAND 100 ML | 12:00:00 AM
Preparation Notes
Date | Type | Description | Operator