## Preparation Details
Preparation
Hanna Code | HI93753A-0 | Description | Chloride Reagent A
MR Code | MR106 | MR Description | Chloride 1000 mg/L Standard Solution in H2O
Preparation Date | 2025/02/05 | Preparation Hour | 09:56 | Preparation Week | 6/2025
FW Hanna Parameter | 35.45 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/02/10 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93753A-0 | Chloride Reagent A | CP-B175 | 35.45 | mg/L | 1 |  | 100 |  | 100 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR106 | Chloride 1000 mg/L Standard Solution in H2O | L |  | 119897 | 100 % | 1000 | mg/L | Cl | 35.45
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 4 | 2 | 2 | 0 | 0 % | -
3 | 16 | 8 | 8 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 2/5/2025 9:57:07 AM | 0A | HC17235297 | 2 | 4 | mg/L | 2 | 2 | Sartorius | 308.00 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ML
2 | 2/5/2025 9:57:24 AM | 0A | HC17235297 | 3 | 16 | mg/L | 8 | 8 | Sartorius | 300.00 mL | Brigita T |  | Sartorius |  |  | ISO LAB 500 ML
Preparation Notes
Date | Type | Description | Operator