## Preparation Details
Preparation
Hanna Code | HI93754A-0 | Description | COD LR Reagent
MR Code | MR50 | MR Description | COD 50000 mg/L Standard Solution
Preparation Date | 2025/12/02 | Preparation Hour | 09:37 | Preparation Week | 49/2025
FW Hanna Parameter | 1 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 10 | STD Exp (Date) | 2025/12/12 | Storage STD | ROOM
Note |  | Operator | Brigitta P
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754A-0 | COD LR Reagent | CP-CODLR.EPA | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 250 | 10 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 | COD 50000 mg/L Standard Solution | L |  | 1250350100 | 100 % | 48980 | mg/L | COD | 1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 20 | .102 | .102 | 0 | 0 % | -
3 | 50 | .255 | .255 | 0 | 0 % | -
4 | 75 | .383 | .383 | 0 | 0 % | -
5 | 100 | .51 | .51 | 0 | 0 % | -
6 | 140 | .715 | .715 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/2/2025 9:52:55 AM | 0B | HC45083835 | 2 | 20 | mg/L | 0.102 | 0.102 | MICROPIPETTE | 7.96 mL | Brigitta P |  | MICROPIPETTE |  | - | VWR 250ML
2 | 12/2/2025 9:53:19 AM | 0B | HC45083835 | 3 | 50 | mg/L | 0.255 | 0.255 | MICROPIPETTE | 6.71 mL | Brigitta P |  | MICROPIPETTE |  | - | VWR 250ML
3 | 12/2/2025 9:53:56 AM | 0B | HC45083835 | 4 | 75 | mg/L | 0.383 | 0.383 | MICROPIPETETTE | 6.33 mL | Brigitta P |  | MICROPIPETETTE |  | - | VWR 250ML
4 | 12/2/2025 9:55:52 AM | 0B | HC45083835 | 5 | 100 | mg/L | 0.51 | 0.51 | MICROPIPETTE/1ML | 5.82 mL | Brigitta P |  | MICROPIPETTE/1ML |  | - | VWR 250ML
5 | 12/2/2025 9:56:24 AM | 0B | HC45083835 | 6 | 140 | mg/L | 0.715 | 0.715 | MICROPIPETTE/1ML | 5.11 mL | Brigitta P |  | MICROPIPETTE/1ML |  | - | VWR 250ML
Preparation Notes
Date | Type | Description | Operator