## Preparation Details
Preparation
Hanna Code | HI93754B-0 | Description | COD MR Reagent
MR Code |  | MR Description
Preparation Date | 2026/09/01 | Preparation Hour | 12:49 | Preparation Week | 2/2026
FW Hanna Parameter | 0 | Measurement Unit |  | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 60 | STD Exp (Date) |  | Storage STD | REFRIGERATOR
Note |  | Operator | Katy
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754B-0 | COD MR Reagent |  | 0 |  | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 500 | 60 | REFRIGERATOR
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
[5 empty] | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | 1.021 | 1.021 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 01/09/2026 12.50.25 | 0D | HC45083835 | 2 | 200 | mg/L | 1.021 | 1021 | sartotius | 98.98 mL | Katy |  | sartotius |  | - | ISO LAB 250 ML
2 | 05/02/2026 11.07.10 | 0C | HC45083835 | 2 | 200 | mg/L | -1019,979 | -1019,979 |  | 1.119,98 mL |  |  |  |  | SCALE | GLASSWARE
Validation Date | by
2026-02-05