## Preparation Details
Preparation
Hanna Code | HI93754B-0 | Description | COD MR Reagent
MR Code | MR50 | MR Description
Preparation Date | 2025/10/23 | Preparation Hour | 10:18 | Preparation Week | 43/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 15 | STD Exp (Date) | 2025/11/07 | Storage STD | ROOM
Note | WITH OUT H2SO4 | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754B-0 | COD MR Reagent | CP-CODMR.EPA | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 100 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
5 | 1000 | 2.042 | 2.042 | 0 | 0 % | -
6 | 1400 | 2.858 | 2.858 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/23/2025 10:19:43 AM | 0B | HC45083835 | 5 | 1000 | mg/L | 2.042 | 2.042 | Micropipette SARTORIUS 5ML | 24.53 mL | Monika |  | Micropipette SARTORIUS 5ML |  | SARTORIUS 5 ML | ISO LAB 100ML
2 | 10/23/2025 10:20:43 AM | 0B | HC45083835 | 6 | 1400 | mg/L | 2.858 | 2.858 | Micropipette SARTORIUS 5ML | 21.67 mL | Monika |  | Micropipette SARTORIUS 5ML |  | SARTORIUS 5 ML | ISO LAB 100ML
Preparation Notes
Date | Type | Description | Operator