## Preparation Details
Preparation
Hanna Code | HI93754B-0 | Description | COD MR Reagent
MR Code | MR50 | MR Description | COD Standard Solution 50000 mg/L, CRM traceable to NIST
Preparation Date | 2026/02/22 | Preparation Hour | 09.08 | Preparation Week | 8/2026
FW Hanna Parameter | 1 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 60 | STD Exp (Date) |  | Storage STD | REFRIGERATOR
Note |  | Operator
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754B-0 | COD MR Reagent | CP-CODMR.EPA | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 500 | 60 | REFRIGERATOR
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 | COD Standard Solution 50000 mg/L, CRM traceable to NIST | L |  | 1250350100 | 10000 % | 49,406 | mg/L | COD | 1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | 20.24 | 20.24 | 0 | 0 % | -
3 | 500 | 50.601 | 50.601 | 0 | 0 % | -
4 | 750 | 75.902 | 75.902 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 22/02/2026 9.10.23 |  | HC45083835 | 2 | 200 | mg/L | 20,24 | 20,24 | pp | 1.145.474.477,76 mL |  |  | pp |  | SCALE | GLASSWARE | 0 | 0
2 | 22/02/2026 10.05.10 | 0C | HC45083835 | 2 | 200 | mg/L | 20,24 | 20,24 | 345678 | 114.547.447.755,76 mL |  |  | 345678 |  | SCALE | GLASSWARE
3 | 22/02/2026 10.05.26 | 0C | HC45083835 | 3 | 500 | mg/L | 50,601 | 50,601 | 444 | 11.454.744.775.525,40 mL |  |  | 444 |  | SCALE | GLASSWARE
4 | 22/02/2026 10.05.39 | 0C | HC45083835 | 4 | 750 | mg/L | 75,902 | 75,902 | 5678 | 114.547.447.755.178,00 mL |  |  | 5678 |  | SCALE | GLASSWARE
Validation Date | by
2026-02-22 | Vianello