## Preparation Details
Preparation
Hanna Code | HI93754B-0 | Description | COD MR Reagent
MR Code | MR50 | MR Description | COD 50000 mg/L Standard Solution
Preparation Date | 2025/04/03 | Preparation Hour | 11:51 | Preparation Week | 14/2025
FW Hanna Parameter | 1 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 15 | STD Exp (Date) | 2025/04/18 | Storage STD | ROOM
Note | WITHOUT H2SO4 | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754B-0 | COD MR Reagent | CP-CODMR.EPA | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 250 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 | COD 50000 mg/L Standard Solution | L |  | 1250350100 | 100 % | 48980 | mg/L | COD | 1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | 1.021 | 1.021 | 0 | 0 % | -
3 | 500 | 2.552 | 2.552 | 0 | 0 % | -
4 | 750 | 3.828 | 3.828 | 0 | 0 % | -
5 | 1000 | 5.104 | 5.104 | 0 | 0 % | -
6 | 1400 | 7.146 | 7.146 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/3/2025 11:56:32 AM | 0G | HC20041635 | 2 | 200 | mg/L | 1.021 | 1.021 | Micropipette | 12.22 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
2 | 4/3/2025 11:57:27 AM | 0G | HC20041635 | 3 | 500 | mg/L | 2.552 | 2.552 | Micropipette | 9.67 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
3 | 4/3/2025 11:58:00 AM | 0G | HC20041635 | 4 | 750 | mg/L | 3.828 | 3.828 | Micropipette | 5.84 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
4 | 4/3/2025 11:58:25 AM | 0G | HC20041635 | 5 | 1000 | mg/L | 5.104 | 5.104 | Micropipette | 0.74 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
5 | 4/3/2025 11:59:02 AM | 0G | HC20041635 | 6 | 1400 | mg/L | 7.146 | 0.74 | Micropipette | 0.00 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
6 | 4/3/2025 11:59:52 AM | 0F | HC20041635 | 6 | 1400 | mg/L | 6.406 | 6.406 | Micropipette | 93.59 mL | Monika |  | Micropipette |  | Sartorius 5ml | 250 ML VWR
Preparation Notes
Date | Type | Description | Operator