## Preparation Details
Preparation
Hanna Code | HI93754B-0 | Description | COD MR Reagent
MR Code | MR50 | MR Description | COD 50000 mg/L Standard Solution
Preparation Date | 2025/09/17 | Preparation Hour | 14:58 | Preparation Week | 38/2025
FW Hanna Parameter | 1 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 15 | STD Exp (Date) | 2025/10/02 | Storage STD | ROOM
Note | With out H2SO4 | Operator | Monika
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754B-0 | COD MR Reagent | CP-CODMR.EPA | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 200 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 | COD 50000 mg/L Standard Solution | L |  | 1250350100 | 100 % | 48980 | mg/L | COD | 1
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 200 | .817 | .817 | 0 | 0 % | -
3 | 500 | 2.042 | 2.042 | 0 | 0 % | -
4 | 750 | 3.062 | 3.062 | 0 | 0 % | -
5 | 1000 | 4.083 | 4.083 | 0 | 0 % | -
6 | 1400 | 5.717 | 5.717 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/17/2025 3:00:34 PM | 0A | HC45083835 | 2 | 200 | mg/L | 0.817 | 0.817 | Micropipette SARTORIUS 1ML | 59.22 mL | Monika |  | Micropipette SARTORIUS 1ML |  | 1ML | ISOLAB 200ML
2 | 9/17/2025 3:00:59 PM | 0A | HC45083835 | 3 | 500 | mg/L | 2.042 | 2.042 | Micropipette SARTORIUS 5ML | 57.18 mL | Monika |  | Micropipette SARTORIUS 5ML |  | 5ML | ISOLAB 200ML
3 | 9/17/2025 3:01:23 PM | 0A | HC45083835 | 4 | 750 | mg/L | 3.062 | 3.062 | Micropipette SARTORIUS 5ML | 54.12 mL | Monika |  | Micropipette SARTORIUS 5ML |  | 5ML | ISOLAB 200ML
4 | 9/17/2025 3:01:41 PM | 0A | HC45083835 | 5 | 1000 | mg/L | 4.083 | 4.083 | Micropipette SARTORIUS 5ML | 50.04 mL | Monika |  | Micropipette SARTORIUS 5ML |  | 5ML | ISOLAB 200ML
5 | 9/17/2025 3:02:18 PM | 0A | HC45083835 | 6 | 1400 | mg/L | 5.717 | 5.717 | Micropipette SARTORIUS 10ML | 44.32 mL | Monika |  | Micropipette SARTORIUS 10ML |  | 10ML | ISOLAB 200ML
Preparation Notes
Date | Type | Description | Operator