## Preparation Details
Preparation
Hanna Code | HI93754C-0 | Description | 14000 PPM COD
Preparation Date | 2025/06/10 | Preparation Hour | 09:48 | Preparation Week | 24/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/07/10 | Storage STD | REFRIGERATOR
Note |  | Operator | Andrea
STD Volume/Weight | 50
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR50 | 14000 | 14 | 14 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 6/10/2025 9:51:00 AM | 0F | HC20041635 | MR50 | 14000 | mg/L | 14 | 14 | SARTORIUS | 43.70 mL | Andrea |  | SARTORIUS |  |  | 50 VWR | 1250350100 | 2025/08/01
Preparation Notes
Date | Type | Description | Operator