## Preparation Details
Preparation
Hanna Code | HI93754C-0 | Description | COD HR Reagent
MR Code | MR50/S | MR Description | KHP 99.95%
Preparation Date | 2025/01/27 | Preparation Hour | 15:15 | Preparation Week | 5/2025
FW Hanna Parameter | 1 | Measurement Unit | g | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 30 | STD Exp (Date) | 2025/02/26 | Storage STD | ROOM
Note | Without H2SO2 | Operator | Monika
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754C-0 | COD HR Reagent | CP-CODHR.EPA | 1.1761 | mg/L | 0 | 11904 | 119 |  | 119 | DW+4mL H2SO4 | 50 | 30 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50/S | KHP 99.95% | S | 1 | P1088-100G | 100 % | 1000 | g | PHT | 1
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1400 | 5 | 5 | 0 | 0 % | -
3 | 4200 | 15 | 15 | 0 | 0 % | -
4 | 7000 | 24.999 | 24.999 | 0 | 0 % | -
5 | 9800 | 34.999 | 34.999 | 0 | 0 % | -
6 | 14000 | 49.999 | 49.999 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 1/27/2025 3:40:10 PM | 0C | MKCS3749 | 2 | 1400 | mg/L | 5 | 5 | Micropipette SARTORIUS 5ML | 244 | Monika |  | Micropipette SARTORIUS 5ML |  |  | VWR 50ML | 1/27/2025 | P1088-100G | 2026/09/24
2 | 1/27/2025 3:40:51 PM | 0C | MKCS3749 | 3 | 4200 | mg/L | 15 | 15 | Micropipette SARTORIUS 10+5ML | 229 | Monika |  | Micropipette SARTORIUS 10+5ML |  |  | VWR 50ML | 1/27/2025 | P1088-100G | 2026/09/24
3 | 1/27/2025 3:43:40 PM | 0C | MKCS3749 | 4 | 7000 | mg/L | 24.999 | 24.999 | Glass pipette 25ml | 204 | Monika |  | Glass pipette 25ml | Glass pipette 25ml |  | VWR 50ML | 1/27/2025 | P1088-100G | 2026/09/24
4 | 1/27/2025 3:44:28 PM | 0C | MKCS3749 | 5 | 9800 | mg/L | 34.999 | 34.999 | Micropipette SARTORIUS 10ML+GLASS PIPETTE 25ML | 169 | Monika |  | Micropipette SARTORIUS 10ML+GLASS PIPETTE 25ML |  |  | VWR 50ML | 1/27/2025 | P1088-100G | 2026/09/24
5 | 1/27/2025 3:45:12 PM | 0C | MKCS3749 | 6 | 14000 | mg/L | 49.999 | 49.999 |  | 119 | Monika |  |  |  |  | VWR 50ML | 1/27/2025 | P1088-100G | 2026/09/24
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93754C-0 | 1.417 mL | 2025/01/27 | 15:15 | 5/2025 | 2025/01/27 | 250 mL | 2025/02/06 | 0C | MKCS3749 | 88.02 mL | 2.97619g
Preparation Notes
Date | Type | Description | Operator