## Preparation Details
Preparation
Hanna Code | HI93754C-0 | Description | COD HR Reagent
MR Code | MR50/S | MR Description | KHP 99.95%
Preparation Date | 2025/10/22 | Preparation Hour | 14:43 | Preparation Week | 43/2025
FW Hanna Parameter | 1 | Measurement Unit | g | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 30 | STD Exp (Date) | 2025/11/21 | Storage STD | ROOM
Note | Without H2SO4/STD 6 prep just for label because this is the mother sol | Operator | Monika
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754C-0 | COD HR Reagent | CP-CODHR.EPA | 1.1761 | mg/L | 0 | 11904 | 118.94 |  | 118.94 | DW+4mL H2SO4 | 50 | 30 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50/S | KHP 99.95% | S | 1 | P1088-100G | 99.95 % | 1000 | g | PHT | 1
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1400 | 5.002 | 5.002 | 0 | 0 % | -
3 | 4200 | 15.007 | 15.007 | 0 | 0 % | -
4 | 7000 | 25.012 | 25.012 | 0 | 0 % | -
5 | 9800 | 35.017 | 35.017 | 0 | 0 % | -
6 | 14000 | 50.024 | 50.024 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/22/2025 2:50:39 PM | 0B | MKCW6054 | 2 | 1400 | mg/L | 5.002 | 5.002 | Micropipette SARTORIUS 5ML | 244 | Monika |  | Micropipette SARTORIUS 5ML | SARTORIUS 5ML | VWR 50 ML | VWR | 10/22/2025 | P1088-100G
2 | 10/22/2025 2:51:26 PM | 0B | MKCW6054 | 3 | 4200 | mg/L | 15.007 | 15.007 | Micropipette | 228.99 | Monika |  | Micropipette | SARTORIUS 15ML | VWR 50 ML | VWR | 10/22/2025 | P1088-100G
3 | 10/22/2025 2:52:51 PM | 0B | MKCW6054 | 4 | 7000 | mg/L | 25.012 | 25.012 | Micropipette /Glass pipette | 203.98 | Monika |  | Micropipette /Glass pipette |  |  |  | 10/22/2025 | P1088-100G
4 | 10/22/2025 2:57:45 PM | 0B | MKCW6054 | 5 | 9800 | mg/L | 35.017 | 35.017 | Micropipette /Glass pipette | 168.96 | Monika |  | Micropipette /Glass pipette | SARTORIUS 10ML/VWR +/-0.03 | VWR 50 ML | VWR | 10/22/2025 | P1088-100G
5 | 10/22/2025 2:58:25 PM | 0B | MKCW6054 | 6 | 14000 | mg/L | 50.024 | 50.024 | - | 118.94 | Monika | - | - | - | - | - | 10/22/2025 | P1088-100G
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93754C-0 | 1.416 mL | 2025/10/22 | 14:43 | 43/2025 | 2025/10/22 | 250 mL | 2025/11/01 | 0B | MKCW6054 | 75 mL | ISOLAB 100ML
Preparation Notes
Date | Type | Description | Operator