## Preparation Details
Preparation
Hanna Code | HI93754C-0 | Description | COD HR Reagent
MR Code | MR50/S | MR Description
Preparation Date | 2025/12/23 | Preparation Hour | 09:44 | Preparation Week | 52/2025
FW Hanna Parameter | 0 | Measurement Unit | g | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 30 | STD Exp (Date) | 2026/01/22 | Storage STD | ROOM
Note | WITH OUT H2SO4 | Operator | Salome
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754C-0 | COD HR Reagent | CP-CODHR.EPA | 1.1761 | mg/L | 0 | 11904 | 118 |  | 118 | DW+4mL H2SO4 | 50 | 30 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50/S |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
2 | 1400 | 5 | 5 | 0 | 0 % | -
3 | 4200 | 15 | 15 | 0 | 0 % | -
4 | 7000 | 24.999 | 24.999 | 0 | 0 % | -
5 | 9800 | 34.999 | 34.999 | 0 | 0 % | -
6 | 14000 | 49.999 | 49.999 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/23/2025 9:57:03 AM | 0C | MKCW6054 | 2 | 1400 | mg/L | 5 | 5 | MICROPIPETTE | 243 | Salome |  | MICROPIPETTE | CH-EQUIP 80 |  | ISOLAB 50 ML | 12/23/2025 | P1088-100G
2 | 12/23/2025 9:57:36 AM | 0C | MKCW6054 | 3 | 4200 | mg/L | 15 | 15 | MICROPIPETTE | 228 | Salome |  | MICROPIPETTE | CH-EQUIP 82 |  | ISOLAB 50 ML | 12/23/2025 | P1088-100G
3 | 12/23/2025 9:58:06 AM | 0C | MKCW6054 | 5 | 9800 | mg/L | 34.999 | 34.999 | MICROPIPETTE | 193 | Salome |  | MICROPIPETTE |  |  |  | 12/23/2025 | P1088-100G
4 | 12/23/2025 9:58:58 AM | 0C | MKCW6054 | 4 | 7000 | mg/L | 24.999 | 24.999 | GLASS PIPETTE | 168 | Salome |  | GLASS PIPETTE | BRAND 25 ML |  | ISOLAB 50 ML | 12/23/2025 | P1088-100G
5 | 12/23/2025 9:59:39 AM | 0C | MKCW6054 | 6 | 14000 | mg/L | 49.999 | 49.999 | GLASS PIPETTE | 118 | Salome |  | GLASS PIPETTE | 50ML |  | ISOLAB 50 ML | 12/23/2025 | P1088-100G
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93754C-0 | 1.405 mL | 2025/12/23 | 09:44 | 52/2025 | 2025/12/23 | 250 mL | 2026/01/02 | 0C | MKCW6054 | 40 mL | VWR 250ML /BAL148 QC 04
Preparation Notes
Date | Type | Description | Operator