## Preparation Details
Preparation
Hanna Code | HI93754G-0 | Description | COD MR Reagent
MR Code | MR50 | MR Description
Preparation Date | 2025/06/02 | Preparation Hour | 15:14 | Preparation Week | 23/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DW+4mL H2SO4 | STD Exp (days) | 15 | STD Exp (Date) | 2025/06/17 | Storage STD | ROOM
Note | Without H2SO4 | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93754G-0 | COD MR Reagent | CP-CODMR.ISO | 1 | mg/L | 0 |  | 100 |  | 100 | DW+4mL H2SO4 | 250 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR50 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
3 | 400 | 2.042 | 2.042 | 0 | 0 % | -
4 | 550 | 2.807 | 2.807 | 0 | 0 % | -
6 | 950 | 4.849 | 4.849 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/2/2025 3:20:47 PM | 0F | HC20041635 | 3 | 400 | mg/L | 2.042 | 2.042 | Micropipette | 66.36 mL | Monika |  | Micropipette |  | Sartorius 5ml | VWR 250ML
2 | 6/2/2025 3:21:51 PM | 0F | HC20041635 | 4 | 550 | mg/L | 2.807 | 2.807 | Micropipette | 63.55 mL | Monika |  | Micropipette |  | Sartorius 5ml | VWR 250ML
3 | 6/2/2025 3:22:13 PM | 0F | HC20041635 | 6 | 950 | mg/L | 4.849 | 4.849 | Micropipette | 58.70 mL | Monika |  | Micropipette |  | Sartorius 5ml | VWR 250ML
Preparation Notes
Date | Type | Description | Operator