## Preparation Details
Preparation
Hanna Code | HI93757-0 | Description | Ozone Reagent
MR Code | MR67C | MR Description
Preparation Date | 2025/06/16 | Preparation Hour | 10:55 | Preparation Week | 25/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/06/17 | Storage STD | ROOM
Note |  | Operator | Violeta
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93757-0 | Ozone Reagent | CP-R35 | 48 | mg/L | 2 |  | 42.96 | 10 | 42.96 | DWA | 250 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
3 | 1.6 | 1.666 | 1.666 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 6/16/2025 10:59:03 AM | 0B | HC39978722 | 3 | 1.6 | mg/L | 1.666 | 1.666 | SARTORIUS | 42.96 | Violeta |  | SARTORIUS | 5ML |  | brand 250ml | 5/6/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI711-0 | 4.296 mL | 2025/05/06 | 13:54 | 19/2025 | 2025/05/06 | 100 mL | 2025/07/05 | 0B | HC39978722 | 528.88 mL | 0.1
Preparation Notes
Date | Type | Description | Operator