## Preparation Details
Preparation
Hanna Code | HI93758A-0 | Description | Reactive Phosphorus Reagent Vial
MR Code | MR104 | MR Description
Preparation Date | 2025/10/14 | Preparation Hour | 09:07 | Preparation Week | 42/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/10/19 | Storage STD | ROOM
Note | For LGC | Operator | Monika
STD Volume/Weight | 200
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93758A-0 | Reactive Phosphorus Reagent Vial | CP-D12 | 30.974 | mg/L | 2 |  | 100 |  | 100 | DWA | 200 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1.5 | .92 | .92 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/14/2025 9:09:23 AM | 0A | HC46262790 | 2 | 1.5 | mg/L | 0.92 | 0.92 | Micropipette sartorius 1ml | 371.99 mL | Monika |  | Micropipette sartorius 1ml |  |  | ISOLAB 200ML
Preparation Notes
Date | Type | Description | Operator