## Preparation Details
Preparation
Hanna Code | HI93758A-0 | Description | Reactive Phosphorus Reagent Vial
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/04/03 | Preparation Hour | 12:20 | Preparation Week | 14/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/04/08 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93758A-0 | Reactive Phosphorus Reagent Vial | CP-D12 | 30.974 | mg/L | 2 |  | 100 |  | 100 | DWA | 250 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .3 | .23 | .23 | 0 | 0 % | -
3 | 1.2 | .92 | .92 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/3/2025 12:23:29 PM | 0A | HC32537198 | 2 | 0.3 | mg/L | 0.23 | 0.23 | Micropipette | 188.17 mL | Monika |  | Micropipette |  | Sartorius 0.3ml | 250 ML BRAND
2 | 4/3/2025 12:24:48 PM | 0A | HC32537198 | 3 | 1.2 | mg/L | 0.92 | 0.92 | Micropipette | 187.25 mL | Monika |  | Micropipette |  | Sartorius 1.0ml | 250 ML BRAND
Preparation Notes
Date | Type | Description | Operator