## Preparation Details
Preparation
Hanna Code | HI93763A-0 | Description | Reactive Phosphorous HR Reagent Vial
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/11/12 | Preparation Hour | 14:59 | Preparation Week | 46/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 30 | STD Exp (Date) | 2025/12/12 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93763A-0 | Reactive Phosphorous HR Reagent Vial | CP-D17 | 30.97 | mg/L | 1 |  | 100 |  | 100 | DWA | 100 | 30 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 6.5 | 1.993 | 1.993 | 0 | 0 % | -
3 | 26 | 7.973 | 7.973 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/12/2025 3:03:44 PM | 0A | HC46262790 | 2 | 6.5 | mg/L | 1.993 | 1.993 | Micropipette SARTORIUS 5ML | 297.91 mL | Monika |  | Micropipette SARTORIUS 5ML |  | VWR 100ML | VWR 100
2 | 11/12/2025 3:04:54 PM | 0A | HC46262790 | 3 | 26 | mg/L | 7.973 | 7.973 | Micropipette SARTORIUS 10ML | 289.94 mL | Monika |  | Micropipette SARTORIUS 10ML |  | 10ML | VWR 100
Preparation Notes
Date | Type | Description | Operator