## Preparation Details
Preparation
Hanna Code | HI93763A-0 | Description | Reactive Phosphorous HR Reagent Vial
MR Code | MR104 | MR Description | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O
Preparation Date | 2025/09/05 | Preparation Hour | 09:53 | Preparation Week | 36/2025
FW Hanna Parameter | 94.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/09/10 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93763A-0 | Reactive Phosphorous HR Reagent Vial | CP-D17 | 30.97 | mg/L | 1 |  | 100 |  | 100 | DWA | 100 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR104 | Phosphate 1000 mg/L Standard Solution from NIST KH2PO4 in H2O | L |  | 1198980500 | 100 % | 1000 | mg/L | PO4 | 94.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 6.5 | 1.993 | 1.993 | 0 | 0 % | -
3 | 26 | 7.973 | 7.973 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/5/2025 9:57:08 AM | 0A | HC46262790 | 2 | 6.5 | mg/L | 1.993 | 1.993 | MICROPIPETTE SARTORIUS 5ML | 460.65 mL | Monika |  | MICROPIPETTE SARTORIUS 5ML |  |  | ISOLAB 100ML
2 | 9/5/2025 9:57:29 AM | 0A | HC46262790 | 3 | 26 | mg/L | 7.973 | 7.973 | MICROPIPETTE SARTORIUS 10ML | 452.68 mL | Monika |  | MICROPIPETTE SARTORIUS 10ML |  |  | ISOLAB 100ML
Preparation Notes
Date | Type | Description | Operator