## Preparation Details
Preparation
Hanna Code | HI93764A-0 | Description | 1ppm NH4
Preparation Date | 2025/07/14 | Preparation Hour | 10:25 | Preparation Week | 29/2025
|  |  |  | STD Matrix | DW A | STD Exp (days) | 30 | STD Exp (Date) | 2025/08/13 | Storage STD | Refrigerator
Note | 1ppm NH4 for HI93764A-0 | Operator | Monika
STD Volume/Weight | 500
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR09 | 1 | .501 | .501 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/14/2025 10:29:49 AM | 0B | HC31103212 | MR09 | 1 | mg/L | 0.501 | 0.501 | CH EQUIP 76 | 469.08 mL | Monika |  | CH EQUIP 76 |  |  | VWR 500ML | 1198120500 | 2025/12/02
Preparation Notes
Date | Type | Description | Operator