## Preparation Details
Preparation
Hanna Code | HI93764A-0 | Description | Ammonia Low Range Reagent Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/01/14 | Preparation Hour | 08:59 | Preparation Week | 3/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 2 | STD Exp (Date) | 2025/01/16 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93764A-0 | Ammonia Low Range Reagent Vial | CP-D16 | 14.007 | mg/L | 2 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .6 | .193 | .193 | 0 | 0 % | -
3 | 2.5 | .803 | .803 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 1/14/2025 9:02:58 AM | 0A | HC31103212 | 2 | 0.6 | mg/L | 0.193 | 0.193 | Micropipette SARTORIUS 1ML | 440.51 mL | Monika |  | Micropipette SARTORIUS 1ML |  |  | BRAND 250ML | 12:00:00 AM
2 | 1/14/2025 9:03:17 AM | 0A | HC31103212 | 3 | 2.5 | mg/L | 0.803 | 0.803 | Micropipette SARTORIUS 1ML | 439.71 mL | Monika |  | Micropipette SARTORIUS 1ML |  |  | BRAND 250ML | 12:00:00 AM
Preparation Notes
Date | Type | Description | Operator