## Preparation Details
Preparation
Hanna Code | HI93764B-0 | Description | Ammonia High Range Reagent Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/04/22 | Preparation Hour | 12:53 | Preparation Week | 17/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 3 | STD Exp (Date) | 2025/04/25 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93764B-0 | Ammonia High Range Reagent Vial | CP-D18 | 14.007 | mg/L | 1 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 100 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 20 | 2.57 | 2.57 | 0 | 0 % | -
3 | 80 | 10.281 | 10.281 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/22/2025 12:57:14 PM | 0A | HC31103212 | 2 | 20 | mg/L | 2.57 | 2.57 | Micropipette SARTORIUS 5ML | 217.94 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | MBL 100ML
2 | 4/22/2025 12:58:05 PM | 0A | HC31103212 | 3 | 80 | mg/L | 10.281 | 10.281 | Micropipette SARTORIUS 10+0.3ML | 207.66 mL | Monika |  | Micropipette SARTORIUS 10+0.3ML |  |  | MBL 100ML
Preparation Notes
Date | Type | Description | Operator