## Preparation Details
Preparation
Hanna Code | HI93766V-0 | Description | Nitrate Reagent Vial
MR Code | MR101 | MR Description | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O
Preparation Date | 2025/01/22 | Preparation Hour | 12:29 | Preparation Week | 4/2025
FW Hanna Parameter | 61.97 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/01/25 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93766V-0 | Nitrate Reagent Vial | CP-D19 | 14.007 | mg/L | 1 |  | 100 |  | 100 | DWA | 100 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR101 | Nitrate 1000 mg/L Standard Solution from NIST NaNO3 in H2O | L |  | 1198110500 | 100 % | 1000 | mg/L | NO3 | 61.97
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 10 | 4.424 | 4.424 | 0 | 0 % | -
3 | 20 | 8.848 | 8.848 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 1/22/2025 12:33:33 PM | 0A | BCCL6390 | 2 | 10 | mg/L | 4.424 | 4.424 | Micropipette SARTORIUS 5ML | 94.58 mL | Monika |  | Micropipette SARTORIUS 5ML |  |  | VWR 100ML
2 | 1/22/2025 12:34:01 PM | 0A | BCCL6390 | 3 | 20 | mg/L | 8.848 | 8.848 | Micropipette SARTORIUS 10ML | 85.73 mL | Monika |  | Micropipette SARTORIUS 10ML |  |  | VWR 100ML
Preparation Notes
Date | Type | Description | Operator