## Preparation Details
Preparation
Hanna Code | HI93767A-B | Description | Total Nitrogen LR Digestion Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/07/09 | Preparation Hour | 15:05 | Preparation Week | 28/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 3 | STD Exp (Date) | 2025/07/12 | Storage STD | ROOM
Note | MR09: STD2 :3.225ML/STD3 :6.450ML | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93767A-B | Total Nitrogen LR Digestion Vial | CP-D20 | 14.007 | mg/L | 1 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 250 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 10 | 3.213 | 3.213 | 0 | 0 % | -
3 | 20 | 6.425 | 6.425 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/9/2025 3:24:15 PM | 0B | HC31103212 | 2 | 10 | mg/L | 3.213 | 3.213 | Micropipette sartorius 5ml | 483.50 mL | Monika |  | Micropipette sartorius 5ml
2 | 7/9/2025 3:24:36 PM | 0B | HC31103212 | 3 | 20 | mg/L | 6.425 | 6.425 | Micropipette sartorius 10ml | 477.08 mL | Monika |  | Micropipette sartorius 10ml
Preparation Notes
Date | Type | Description | Operator