## Preparation Details
Preparation
Hanna Code | HI93767B-B | Description | Total Nitrogen HR Digestion Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/11/10 | Preparation Hour | 06:33 | Preparation Week | 46/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 90 | STD Exp (Date) | 2026/02/08 | Storage STD | ROOM
Note | The stds are stabile | Operator | Monika
STD Volume/Weight | 50
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93767B-B | Total Nitrogen HR Digestion Vial | CP-D20 | 14.007 | mg/L | 0 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 50 | 90 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 50 | 3.213 | 3.213 | 0 | 0 % | -
3 | 75 | 4.819 | 4.819 | 0 | 0 % | -
4 | 120 | 7.71 | 7.71 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 11/10/2025 6:37:30 AM | 0B | HC31103212 | 2 | 50 | mg/L | 3.213 | 3.213 | Micropipette SARTORIUS 5ml | 172.39 mL | Monika |  | Micropipette SARTORIUS 5ml |  | 5ML | VWR 50ML
2 | 11/10/2025 6:37:50 AM | 0B | HC31103212 | 3 | 75 | mg/L | 4.819 | 4.819 | Micropipette SARTORIUS 5ml | 167.57 mL | Monika |  | Micropipette SARTORIUS 5ml |  | 5ML | VWR 50ML
3 | 11/10/2025 6:38:15 AM | 0B | HC31103212 | 4 | 120 | mg/L | 7.71 | 7.71 | Micropipette SARTORIUS 10ml | 159.86 mL | Monika |  | Micropipette SARTORIUS 10ml |  | 10ML | VWR 50ML
Preparation Notes
Date | Type | Description | Operator