## Preparation Details
Preparation
Hanna Code | HI93767B-B | Description | Total Nitrogen HR Digestion Vial
MR Code | MR09 | MR Description | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O
Preparation Date | 2025/04/07 | Preparation Hour | 08:43 | Preparation Week | 15/2025
FW Hanna Parameter | 18 | Measurement Unit | mg/L | STD Matrix | DWA + 3 DROPS Sulphuric Reagent | STD Exp (days) | 3 | STD Exp (Date) | 2025/04/10 | Storage STD | ROOM
Note |  | Operator | Katy
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI93767B-B | Total Nitrogen HR Digestion Vial | CP-D20 | 14.007 | mg/L | 0 |  | 100 |  | 100 | DWA + 3 DROPS Sulphuric Reagent | 100 | 3 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR09 | Ammonium 1000 mg/l Standard Solution from NIST NH4Cl in H2O | L | 0.99 | 1198120500 | 100 % | 1000 | mg/L | NH4 | 18
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 50 | 6.425 | 6.425 | 0 | 0 % | -
3 | 75 | 9.638 | 9.638 | 0 | 0 % | -
4 | 120 | 15.421 | 15.421 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 4/7/2025 8:47:25 AM | 0A | HC31103212 | 2 | 50 | mg/L | 6.425 | 6.425 | MICROPIPETTE | 295.63 mL | Katy |  | MICROPIPETTE |  | SARTORIUS 10ML | 100ml MBL
2 | 4/7/2025 8:48:23 AM | 0A | HC31103212 | 3 | 75 | mg/L | 9.638 | 9.638 | MICROPIPETTE | 285.99 mL | Katy |  | MICROPIPETTE |  | SARTORIUS 10ML | 100ml MBL
3 | 4/7/2025 8:49:01 AM | 0A | HC31103212 | 4 | 120 | mg/L | 15.421 | 15.421 | MICROPIPETTE | 270.57 mL | Katy |  | MICROPIPETTE |  | SARTORIUS 10ML | 100ml MBL
Preparation Notes
Date | Type | Description | Operator