## Preparation Details
Preparation
Hanna Code | HI95747-0 | Description | Copper Low Range Reagent
MR Code | MR44 | MR Description | Copper 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/09/04 | Preparation Hour | 09:16 | Preparation Week | 36/2025
FW Hanna Parameter | 63.546 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 2 | STD Exp (Date) | 2025/09/06 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI95747-0 | Copper Low Range Reagent | CP-R60 | 63.546 | mg/L | 3 |  | 95.25 | 10 | 95.25 | DWA | 250 | 2 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR44 | Copper 1000 mg/l Standard Solution AAS in nitric acid | L |  | 38996-250ml | 100 % | 1000 | mg/L | Cu | 63.546
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .3 | .75 | .75 | 0 | 0 % | -
3 | 1.2 | 3 | 3 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 9/4/2025 9:25:58 AM | 0A | BCCH9264 | 2 | 0.3 | mg/L | 0.75 | 0.75 |  | 98.25 | Andrea V |  |  | sartorius | 1ML | ISOLAB 500 ML | 9/4/2025 | 38996-250ml | 2025/05/02
2 | 9/4/2025 9:26:16 AM | 0A | BCCH9264 | 3 | 1.2 | mg/L | 3 | 3 |  | 95.25 | Andrea V |  |  | sartorius | 5ML | ISOLAB 500 ML | 9/4/2025 | 38996-250ml | 2025/05/02
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI95747-0 | 9.525 mL | 2025/09/04 | 09:16 | 36/2025 | 2025/09/04 | 100 mL | 2025/09/09 | 0A | BCCH9264 | 82.45 mL
Preparation Notes
Date | Type | Description | Operator