## Preparation Details
Preparation
Hanna Code | HI95761-0 | Description | Total Chlorine ULR Reagent
MR Code | MR67C | MR Description | Potassium permanganate 0.02 mol (0,01N)
Preparation Date | 2025/07/01 | Preparation Hour | 16:05 | Preparation Week | 27/2025
FW Hanna Parameter | 70.906 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2025/07/02 | Storage STD | ROOM
Note |  | Operator
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI95761-0 | Total Chlorine ULR Reagent | CP-R61 | 70.906 | mg/L | 3 |  | 11.35 | 10 | 11.35 | DWA | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C | Potassium permanganate 0.02 mol (0,01N) | L |  | 1603221000 | 100 % | 3547 | mg/L | KMn04 | 70.906
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .1 | .141 | .141 | 0 | 0 % | -
3 | .4 | .564 | .564 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 7/1/2025 4:05:54 PM | 0B | HC39978722 | 2 | 0.1 | mg/L | 0.141 | 0.141 | SARTORIUS | 11.91 |  |  | SARTORIUS | 1ML | ISOLAB 500 ML |  | 6/23/2025
2 | 7/1/2025 4:06:16 PM | 0B | HC39978722 | 3 | 0.4 | mg/L | 0.564 | 0.564 | SARTORIUS | 11.35 |  |  | SARTORIUS | 1ML | ISOLAB 500 ML |  | 6/23/2025
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI93701A-F | 1.135 mL | 2025/06/23 | 08:13 | 26/2025 | 2025/06/23 | 39.44 mL | 2025/08/22 | 0B | HC39978722 | 508.88 mL | 0.5
Preparation Notes
Date | Type | Description | Operator