## Preparation Details
Preparation
Hanna Code | HI95762-0 | Description | Free Chlorine ULR Reagent
MR Code | MR67C | MR Description
Preparation Date | 2024/11/07 | Preparation Hour | 09:45 | Preparation Week | 45/2024
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 1 | STD Exp (Date) | 2024/11/08 | Storage STD | ROOM
Note |  | Operator | Brigita T
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI95762-0 | Free Chlorine ULR Reagent | CP-R62 | 70.906 | mg/L | 3 |  | 11.88 | 10 | 11.88 | DWA | 500 | 1 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MPN | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR67C |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MS Qty | MS Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .1 | .141 | .141 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MS Qty | MS Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date
1 | 11/7/2024 9:50:56 AM | 0B | HC39978722 | 2 | 0.1 | mg/L | 0.141 | 0.141 | Sartorius | 11.88 | Brigita T |  | Sartorius | 300 micro L |  | ISO LAB 500 ml | 9/23/2024
Mother Solution
HannaCode | MR Qty Required | DataPrep | HourPrep | PrepWeek | MS Preparation Date | MS QtyProduced | MS DataExp | MR Bottle Number | MR Bottle Lot | MR Bottle Qty | Note
HI711-0 | 1.188 mL | 2024/09/23 | 09:02 | 39/2024 | 2024/09/23 | 100 mL | 2024/11/22 | 0B | HC39978722 | 580.83 mL
Preparation Notes
Date | Type | Description | Operator