## Preparation Details
Preparation
Hanna Code | HI96770A-0 | Description | Silica High Range Reagent A
MR Code | MR82 | MR Description | Silicon 10,000 mg/L Si Standard Solution ICP from SiO2 in NaOH 4%
Preparation Date | 2025/08/22 | Preparation Hour | 12:26 | Preparation Week | 34/2025
FW Hanna Parameter | 28.0855 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/08/27 | Storage STD | ROOM
Note |  | Operator
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96770A-0 | Silica High Range Reagent A | CP-R64 | 60.08 | mg/L | 0 |  | 100 |  | 100 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR82 | Silicon 10,000 mg/L Si Standard Solution ICP from SiO2 in NaOH 4% | L |  | 1703860100 | 100 % | 10000 | mg/L | Si | 28.0855
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 40 | .935 | .935 | 0 | 0 % | -
3 | 160 | 3.74 | 3.74 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 8/22/2025 12:26:30 PM | 0C | HC28960286 | 2 | 40 | mg/L | 0.935 | 0.935 | SARTORIUS | 67.38 mL |  |  | SARTORIUS
2 | 8/22/2025 12:26:51 PM | 0C | HC28960286 | 3 | 160 | mg/L | 3.74 | 3.74 | SARTORIUS 5ML | 63.64 mL |  |  | SARTORIUS 5ML
Preparation Notes
Date | Type | Description | Operator