## Preparation Details
Preparation
Hanna Code | HI96770C-0 | Description | Silica High Range Reagent C
MR Code | MR82 | MR Description
Preparation Date | 2025/12/09 | Preparation Hour | 15:16 | Preparation Week | 50/2025
FW Hanna Parameter | 0 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 5 | STD Exp (Date) | 2025/12/14 | Storage STD | ROOM
Note |  | Operator | Andrea V
STD Volume/Weight | 500
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96770C-0 | Silica High Range Reagent C | CP-R14 | 60.08 | mg/L | 0 |  | 100 |  | 100 | DWA | 500 | 5 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR82 |  |  |  |  | 0 % | 0 |  |  | 0
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 40 | .935 | .935 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 12/9/2025 3:17:42 PM | 0C | HC28960286 | 2 | 40 | mg/L | 0.935 | 0.935 | SARTORIUS CH-EQIUP76 | 49.50 mL | Andrea V |  | SARTORIUS CH-EQIUP76 |  |  | VWR500ML
Preparation Notes
Date | Type | Description | Operator