## Preparation Details
Preparation
Hanna Code | HI96784V-0 | Description | Nitrite Medium Range Reagent Vial
MR Code | MR102 | MR Description | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O
Preparation Date | 2025/10/29 | Preparation Hour | 11:04 | Preparation Week | 44/2025
FW Hanna Parameter | 45.98 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 15 | STD Exp (Date) | 2025/11/13 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 100
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96784V-0 | Nitrite Medium Range Reagent Vial | CP-D28 | 14.007 | mg/L | 2 |  | 100 |  | 100 | DWA | 100 | 15 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR102 | NitrIte 1000 mg/L Standard Solution from NIST NaNO2 in H2O | L |  | 1198990500 | 100 % | 1000 | mg/L | NO2 | 45.98
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | .6 | .197 | .197 | 0 | 0 % | -
3 | 3 | .985 | .985 | 0 | 0 % | -
4 | 4.8 | 1.576 | 1.576 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/29/2025 11:06:13 AM | 0B | HC32789399 | 2 | 0.6 | mg/L | 0.197 | 0.197 | Micropipette SARTORIUS 0.3ML | 413.38 mL | Monika |  | Micropipette SARTORIUS 0.3ML |  | 0.3ML | ISOLAB 250ML
2 | 10/29/2025 11:07:51 AM | 0B | HC32789399 | 3 | 3 | mg/L | 0.985 | 0.985 | Micropipette SARTORIUS 1ML | 411.90 mL | Monika |  | Micropipette SARTORIUS 1ML |  | 1ML | ISOLAB 100ML
3 | 10/29/2025 11:08:16 AM | 0B | HC32789399 | 4 | 4.8 | mg/L | 1.576 | 1.576 | Micropipette SARTORIUS 5ML | 410.32 mL | Monika |  | Micropipette SARTORIUS 5ML |  | 5ML | ISOLAB 100ML
Preparation Notes
Date | Type | Description | Operator