## Preparation Details
Preparation
Hanna Code | HI96786V-0 | Description | Iron Reagent Vial
MR Code | MR33 | MR Description | Iron 1000 mg/l Standard Solution AAS in nitric acid
Preparation Date | 2025/10/23 | Preparation Hour | 11:10 | Preparation Week | 43/2025
FW Hanna Parameter | 55.84 | Measurement Unit | mg/L | STD Matrix | DWA | STD Exp (days) | 14 | STD Exp (Date) | 2025/11/06 | Storage STD | ROOM
Note |  | Operator | Monika
STD Volume/Weight | 250
Hanna Code
Hanna Code | Description | Recipe/Meter | FW Hanna Parameter | Measurement Unit | Decimal | MS1 Value | MS1 Volume (ml) | MS2dil | MS2 Vol. (ml) | STD Matrix | STD Vol.(mL) | STD Exp. | Storage STD
HI96786V-0 | Iron Reagent Vial | CP-D31 | 55.84 | mg/L | 2 |  | 100 |  | 100 | DWA | 250 | 14 | ROOM
Chemical MR
Code | Description | MR physical state | MR Density 20°C(g/mL) | MR MNP | MR PURITY % | MR Value | MR Unit | MR Parameter | FW MR Parameter
MR33 | Iron 1000 mg/l Standard Solution AAS in nitric acid | L |  | 16596-250ML | 100 % | 1000 | mg/L | Fe III | 55.84
STD Table
STD Number | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
1 | 0 | 0 | 0 | 0 | 0 % | -
2 | 1 | .25 | .25 | 0 | 0 % | -
3 | 3 | .75 | .75 | 0 | 0 % | -
4 | 5 | 1.25 | 1.25 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | STDNumber | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MS Date | MNP | Exp.MR
1 | 10/23/2025 11:15:55 AM | 0A | BCCM1625 | 2 | 1 | mg/L | 0.25 | 0.25 | Micropipette SARTORIUS 0.3ML | 216.83 mL | Monika |  | Micropipette SARTORIUS 0.3ML |  | SARTORIUS 0.3ML | VWR 250 ML
2 | 10/23/2025 11:16:57 AM | 0A | BCCM1625 | 3 | 3 | mg/L | 0.75 | 0.75 | Micropipette SARTORIUS 1ML | 216.08 mL | Monika |  | Micropipette SARTORIUS 1ML |  | SARTORIUS 1ML | BRAND 250 ML
3 | 10/23/2025 11:17:38 AM | 0A | BCCM1625 | 4 | 5 | mg/L | 1.25 | 1.25 | Micropipette SARTORIUS 5ML | 214.83 mL | Monika |  | Micropipette SARTORIUS 5ML |  | SARTORIUS 5ML | Boro 250 ML
Preparation Notes
Date | Type | Description | Operator