## Preparation Details
Preparation
Hanna Code | HI96788V-0 | Description | 1 ppm Fenol
Preparation Date | 2025/07/14 | Preparation Hour | 08:58 | Preparation Week | 29/2025
|  |  |  | STD Matrix | DWA | STD Exp (days) | 3 | STD Exp (Date) | 2025/07/17 | Storage STD | REFRIGERATOR
Note | For workshop | Operator | Monika
STD Volume/Weight | 1000
STD Table
MR Code | STD Value | MR Qty | MR Acquired | Variance | Variance Perc | Note
MR128 | .1 | .1 | .1 | 0 | 0 % | -
Acquisition Table
Index | AcquisitionTime | Bottle | Lot | MR Code | STDValue | STDUnit | MR Qty | MR Acquired | Pipette | LeftInBottle | Operator | Note | Pipetta Code | Pipetta Type | Scale Code | GlassWare Code | MNP | Exp.MR
1 | 7/14/2025 9:01:37 AM | 0A | LRAE0336 | MR128 | 0.1 | mg/L | 0.1 | 0.1 | CH EQUIP 75 | 97.54 mL | Violeta |  | CH EQUIP 75 |  | / | GLASSCO 1000 ML | TPC1000/100ML | 2026/10/01
Preparation Notes
Date | Type | Description | Operator